Flood Risk Assessment:
Site :

1A Barbers Drove North
Crowland
Peterborough

PE6 0BE 
Applicant :

Ms. S. Lartey
Description : Planning application for single storey rear extension to dwelling.
On investigation with the Environment Agency it has been established that the application address lies in Flood Zone 2 with a low risk of flooding up to 300mm.
Further investigation found that the original outline planning permission for the development (H02-0362-10) set the finished floor levels for this dwelling the same as the adjacent dentist surgery (some 480mm above the immediate outside ground level of this plot) – all to overcome the aforementioned risk of flooding.

With this in mind the proposed extension will match the existing floor level of the dwelling.
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