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MegaStor Galvanised Steel Water Storage Tank
Description:

‘The steel support structure of an MegaStor tank is engineered for strength and durability,
with a built-in 40% safety margin to ensure long-term reliabilty.

Product Overview:
Variants: Available in short and long panel options to suit different space requirements.
Capacities: From 2m* to 2000m?, ideal for residential, commercial, and industrial use.
Easy Installtion: Designed for quick setup with step-by-step guides.

Portable: Compact and easy to transport, perfect for mobile or remote applications.
Scalable: Link tanks in series or parallel to increase capacity as needed.

Flexible: Fully demountable for temporary or relocatable storage.

Versatile Installation: Can be installed above ground, half-buried, or fully buried.
Customisable: Powder coating available in various colours to suit your site or branding.
Multi-Use: Suitable for storing other liquids, not just water.

"MegaStor Water Tank Base Requirement nstallation Details:

Tank Tank Minium | Concrete | Sand
Diameter | Diameter | Base Required | Required

Fainstor (Meters) | (Feet) Diameter | (m3) (m3)
. Meters)

Workingin partnershipwitn | 1006 3 1066 892 397

Me.Charis Doublecay

3.81m Height

solutions. defined, designed, deivered.





