FLOOD RISK ASSESSMENT

Proposed Agricultural Polytunnel

Risegate House, Hedgefield Hurn, Gosberton, Spalding, PE11 4JE

1. Site Description

The application site comprises agricultural land associated with Risegate House, Gosberton. The proposal is for the erection of a single agricultural polytunnel for horticultural production. The polytunnel will be used for plant growing purposes only and will not include any residential accommodation or sleeping areas.

2. Flood Zone Classification

According to the Environment Agency Flood Map for Planning, the site lies within Flood Zone 2 (medium probability of flooding).

3. Nature of Development

The development consists of:

One lightweight, temporary agricultural polytunnel

No permanent foundations

No increase in hardstanding

No residential or vulnerable uses

The structure is permeable and allows floodwater to pass through without displacement.

4. Flood Risk & Impact Assessment

The proposal will not increase flood risk on or off site

No land raising is proposed

Existing ground levels will remain unchanged

The polytunnel does not obstruct flood flows

No drainage alterations are proposed

The development is therefore considered flood neutral.

5. Flood Resistance & Resilience

The polytunnel is a lightweight structure

In the event of flooding, water can freely enter and exit

No electrical systems or services are proposed within the tunnel

No hazardous materials will be stored

6. Access & Egress

No permanent access routes are altered. The polytunnel is used only during normal working hours and does not require safe access during flood events.

7. Conclusion

The proposed development is appropriate within Flood Zone 2.

It is a low-risk, agricultural structure that does not increase flood risk elsewhere and complies with national and local flood risk policy.

Prepared by: Matthew Verdegaal