| # Humphrey Contracting Ltd (incorporating David Humphrey & Son) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cope Safety Management Ltd 2009 www.jwcope.co.uk RAF5 Rev 1 RISK ASSESSMENT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Project: Demolition of buildings |  |  |  |  |  |  |  |  |  |  |  | Location: Spalding Road, Pinchbeck |  |  |  |  |  |  |  |  |  |  |  |
| Description of Hazard: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Exposure to asbestos containing materials (ACM’s) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Those at Risk: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Operatives |  |  |  |  |  |  |  |  |  |  |  | Visitors |  |  |  |  |  |  |  |  |  |  |  |
| Contractors |  |  |  |  |  |  |  |  |  |  |  | Members of the public |  |  |  |  |  |  |  |  |  |  |  |
| Clients staff |  |  |  |  |  |  |  |  |  |  |  | Children |  |  |  |  |  |  |  |  |  |  |  |
| Assessment of Risk: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Probability |  |  | Severity |  |  |  | Risk factor before control |  |  |  |  |  |  |  |  |  |  |  |  | Risk Factor |  |  |  |
| 5 | Very Likely |  | 5 | Fatality |  |  | Probability |  | 5 |  |  |  |  |  |  |  |  |  |  | ##### Probability x Severity Low = 1 to 6 Medium = 7 to 11 High = 12 + |  |  |  |
| 4 | Likely |  | 4 | Major Injury |  |  |  |  | 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | Probable |  | 3 | Medical Injury |  |  |  |  | 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | Possible |  | 2 | Minor Injury |  |  |  |  | 2 |  |  |  |  | x |  |  |  |  |  |  |  |  |  |
| 1 | Very Unlikely |  | 1 | No Injury |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 0 |  | 1 |  | 2 | 3 |  | 4 |  | 5 |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | ##### Severity |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Low |  |  |  |  |  | Medium |  |  |  |  |  |  |  |  |  |  |  |  | High |  |  |
| Remedial Action Required to Reduce Risk: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| All suspect material to be analysed prior to any work commencing. Asbestos containing materials to be undisturbed where possible. Licensed materials to only be removed by licensed contractors. All relevant PPE and RPE to be worn when working with ACM’s. Material to be damped down where necessary. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| PPE Requirements: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Boots |  |  |  |  |  | Gloves |  |  |  |  |  |  |  |  |  |  | Respiratory protection |  |  |  |  |  |  |
| Safety helmet |  |  |  |  |  | Eye protection |  |  |  |  |  |  |  |  |  |  | Harness and lanyard |  |  |  |  |  |  |
| Hi vis |  |  |  |  |  | Hearing protection |  |  |  |  |  |  |  |  |  |  | Other: |  |  |  |  |  |  |
| Resulting Risk Factor: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Low |  |  |  |  |  | Medium |  |  |  |  |  |  |  |  |  |  |  |  | High |  |  |
| ###### Name of Assessor / Signature |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ###### Date |  |  |  |  |
| James Humphrey |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 21.8.18 |  |  |  |  |