| # Humphrey Contracting Ltd (incorporating David Humphrey & Son) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cope Safety Management Ltd 2009 www.jwcope.co.uk RAF5 Rev 1 RISK ASSESSMENT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Project: Demolition of buildings |  |  |  |  |  |  |  |  |  |  |  | Location: Spalding Road, Pinchbeck |  |  |  |  |  |  |  |  |  |  |  |
| Description of Hazard: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Exposure to dust |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Those at Risk: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Operatives |  |  |  |  |  |  |  |  |  |  |  | Visitors |  |  |  |  |  |  |  |  |  |  |  |
| Contractors |  |  |  |  |  |  |  |  |  |  |  | Members of the public |  |  |  |  |  |  |  |  |  |  |  |
| Clients staff |  |  |  |  |  |  |  |  |  |  |  | Children |  |  |  |  |  |  |  |  |  |  |  |
| Assessment of Risk: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Probability |  |  | Severity |  |  |  | Risk factor before control |  |  |  |  |  |  |  |  |  |  |  |  | Risk Factor |  |  |  |
| 5 | Very Likely |  | 5 | Fatality |  |  | Probability |  | 5 |  |  |  |  |  |  |  |  |  |  | ##### Probability x Severity Low = 1 to 6 Medium = 7 to 11 High = 12 + |  |  |  |
| 4 | Likely |  | 4 | Major Injury |  |  |  |  | 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | Probable |  | 3 | Medical Injury |  |  |  |  | 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | Possible |  | 2 | Minor Injury |  |  |  |  | 2 |  |  |  |  | x |  |  |  |  |  |  |  |  |  |
| 1 | Very Unlikely |  | 1 | No Injury |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 0 |  | 1 |  | 2 | 3 |  | 4 |  | 5 |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | ##### Severity |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Low |  |  |  |  |  | Medium |  |  |  |  |  |  |  |  |  |  |  |  | High |  |  |
| Remedial Action Required to Reduce Risk: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Damp down material where practical to reduce dust. Cutting equipment should be fitted with dust suppression devices. Operatives should wear suitable respiratory equipment. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| PPE Requirements: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Boots |  |  |  |  |  | Gloves |  |  |  |  |  |  |  |  |  |  | Respiratory protection |  |  |  |  |  |  |
| Safety helmet |  |  |  |  |  | Eye protection |  |  |  |  |  |  |  |  |  |  | Harness and lanyard |  |  |  |  |  |  |
| Hi vis |  |  |  |  |  | Hearing protection |  |  |  |  |  |  |  |  |  |  | Other: |  |  |  |  |  |  |
| Resulting Risk Factor: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Low |  |  |  |  |  | Medium |  |  |  |  |  |  |  |  |  |  |  |  | High |  |  |
| ###### Name of Assessor / Signature |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ###### Date |  |  |  |  |
| James Humphrey |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 21.8.18 |  |  |  |  |