| # Humphrey Contracting Ltd (incorporating David Humphrey & Son) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cope Safety Management Ltd 2009 www.jwcope.co.uk RAF5 Rev 1 RISK ASSESSMENT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Project: Demolition of buildings |  |  |  |  |  |  |  |  |  |  |  | Location: Spalding Road, Pinchbeck |  |  |  |  |  |  |  |  |  |  |  |
| Description of Hazard: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Risk of electrocution, or gas poisoning. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Those at Risk: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Operatives |  |  |  |  |  |  |  |  |  |  |  | Visitors |  |  |  |  |  |  |  |  |  |  |  |
| Contractors |  |  |  |  |  |  |  |  |  |  |  | Members of the public |  |  |  |  |  |  |  |  |  |  |  |
| Clients staff |  |  |  |  |  |  |  |  |  |  |  | Children |  |  |  |  |  |  |  |  |  |  |  |
| Assessment of Risk: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Probability |  |  | Severity |  |  |  | Risk factor before control |  |  |  |  |  |  |  |  |  |  |  |  | Risk Factor |  |  |  |
| 5 | Very Likely |  | 5 | Fatality |  |  | Probability |  | 5 |  |  |  |  |  |  |  |  |  |  | ##### Probability x Severity Low = 1 to 6 Medium = 7 to 11 High = 12 + |  |  |  |
| 4 | Likely |  | 4 | Major Injury |  |  |  |  | 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | Probable |  | 3 | Medical Injury |  |  |  |  | 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | Possible |  | 2 | Minor Injury |  |  |  |  | 2 |  |  |  |  |  |  |  |  | x |  |  |  |  |  |
| 1 | Very Unlikely |  | 1 | No Injury |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 0 |  | 1 |  | 2 | 3 |  | 4 |  | 5 |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | ##### Severity |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Low |  |  |  |  |  | Medium |  |  |  |  |  |  |  |  |  |  |  |  | High |  |  |
| Remedial Action Required to Reduce Risk: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Services to be disconnected prior to work commencing, if disconnection is not possible, then services should be clearly marked and all operatives on site to be made aware of their presence. In the case of a gas leak, persons should take the same precautions as they would in a fire i.e. head for the nearest emergency exit and make others aware of any potential danger. In the event of electrocution, do not go near any casualties, as electric current may still be a danger. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| PPE Requirements: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Boots |  |  |  |  |  | Gloves |  |  |  |  |  |  |  |  |  |  | Respiratory protection |  |  |  |  |  |  |
| Safety helmet |  |  |  |  |  | Eye protection |  |  |  |  |  |  |  |  |  |  | Harness and lanyard |  |  |  |  |  |  |
| Hi vis |  |  |  |  |  | Hearing protection |  |  |  |  |  |  |  |  |  |  | Other: |  |  |  |  |  |  |
| Resulting Risk Factor: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Low |  |  |  |  |  | Medium |  |  |  |  |  |  |  |  |  |  |  |  | High |  |  |
| ###### Name of Assessor / Signature |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ###### Date |  |  |  |  |
| James Humphrey |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 21.8.18 |  |  |  |  |