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	Humphrey Contracting Ltd (incorporating David Humphrey & Son)

	RISK ASSESSMENT Cope Safety Management Ltd 2009
 www.jwcope.co.uk

RAF5 Rev 1


	Project: Demolition of buildings

	Location: Spalding Road, Pinchbeck


	Description of Hazard:

	Fire



	Those at Risk:

	Operatives
	
	Visitors
	

	Contractors
	
	Members of the public
	

	Clients staff
	
	Children 
	

	Assessment of Risk:

	Probability
	Severity
	Risk factor before control
	Risk Factor

	5
	Very Likely
	5
	Fatality
	Probability
	5
	
	
	
	
	
	
Probability x Severity

Low = 1 to 6
Medium = 7 to 11
High = 12 +

	4
	Likely
	4
	Major Injury
	
	4
	
	
	
	
	
	

	3
	Probable
	3
	Medical Injury
	
	3
	
	
	
	
	
	

	2
	Possible
	2
	Minor Injury
	
	2
	
	
	
	
	x
	

	1
	Very Unlikely
	1
	No Injury
	
	1
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	2
	3
	4
	5
	

	
	
	Severity
	

	
	Low
	
	Medium
	
	High

	Remedial Action Required to Reduce Risk:

	When working inside of buildings, fire exits to be clearly marked and shown to anybody working inside of building. Fire assembly point to be agreed with all persons on site prior to work starting. Adequate amount of fire extinguishers to be placed around site in-case of fire. All hot works to be carried out under a hot works permit. All hot works to be stopped an hour before leaving site, to allow a fire watch period.

	PPE Requirements:

	Boots
	
	Gloves
	
	Respiratory protection
	

	Safety helmet
	
	Eye protection
	
	Harness and lanyard
	

	Hi vis
	
	Hearing protection
	
	Other: 
	

	Resulting Risk Factor:

	
	Low
	
	Medium
	
	High

	Name of Assessor / Signature
	Date

	[image: ]		James Humphrey
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