| # Humphrey Contracting Ltd (incorporating David Humphrey & Son) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cope Safety Management Ltd 2009 www.jwcope.co.uk RAF5 Rev 1 RISK ASSESSMENT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Project: Demolition of buildings |  |  |  |  |  |  |  |  |  |  |  | Location: Spalding Road, Pinchbeck |  |  |  |  |  |  |  |  |  |  |  |
| Description of Hazard: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Operation of mobile work platforms |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Those at Risk: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Operatives |  |  |  |  |  |  |  |  |  |  |  | Visitors |  |  |  |  |  |  |  |  |  |  |  |
| Contractors |  |  |  |  |  |  |  |  |  |  |  | Members of the public |  |  |  |  |  |  |  |  |  |  |  |
| Clients staff |  |  |  |  |  |  |  |  |  |  |  | Children |  |  |  |  |  |  |  |  |  |  |  |
| Assessment of Risk: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Probability |  |  | Severity |  |  |  | Risk factor before control |  |  |  |  |  |  |  |  |  |  |  |  | Risk Factor |  |  |  |
| 5 | Very Likely |  | 5 | Fatality |  |  | Probability |  | 5 |  |  |  |  |  |  |  |  |  |  | ##### Probability x Severity Low = 1 to 6 Medium = 7 to 11 High = 12 + |  |  |  |
| 4 | Likely |  | 4 | Major Injury |  |  |  |  | 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | Probable |  | 3 | Medical Injury |  |  |  |  | 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | Possible |  | 2 | Minor Injury |  |  |  |  | 2 |  |  |  |  |  |  |  |  | x |  |  |  |  |  |
| 1 | Very Unlikely |  | 1 | No Injury |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 0 |  | 1 |  | 2 | 3 |  | 4 |  | 5 |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | ##### Severity |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Low |  |  |  |  |  | Medium |  |  |  |  |  |  |  |  |  |  |  |  | High |  |  |
| Remedial Action Required to Reduce Risk: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| All plant to hold up to date test certificates. Pre start checks to be carried out daily, prior to operation. All operatives to be trained and hold up to date IPAF or equivalent qualification. Plant to only operate on solid, level ground. Wind levels to be checked at regular intervals and if wind speed exceeds manufacturers recommended levels, then plant to not be used. Cordon areas to be used around plant where possible, to ensure persons don’t risk being crushed by plant/hit by falling materials. Fall restraint equipment to be used where applicable. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| PPE Requirements: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Boots |  |  |  |  |  | Gloves |  |  |  |  |  |  |  |  |  |  | Respiratory protection |  |  |  |  |  |  |
| Safety helmet |  |  |  |  |  | Eye protection |  |  |  |  |  |  |  |  |  |  | Harness and lanyard |  |  |  |  |  |  |
| Hi vis |  |  |  |  |  | Hearing protection |  |  |  |  |  |  |  |  |  |  | Other: |  |  |  |  |  |  |
| Resulting Risk Factor: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Low |  |  |  |  |  | Medium |  |  |  |  |  |  |  |  |  |  |  |  | High |  |  |
| ###### Name of Assessor / Signature |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ###### Date |  |  |  |  |
| James Humphrey |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 21.8.18 |  |  |  |  |