Flood Risk Assessment

Little Berries Café LTD

Unit 2 & 3, 14 The Crescent, Spalding, PE11 1AE

1. Introduction

This Flood Risk Assessment (FRA) supports the proposed minor development works at Unit 2 & 3, 14 The Crescent, Spalding, PE11 1AE (“the Site”). The assessment has been prepared in accordance with the National Planning Policy Framework (NPPF) and the Planning Practice Guidance (PPG) relating to Flood Risk and Coastal Change.

The purpose of this FRA is to demonstrate that the proposed works will not increase flood risk on the Site or elsewhere and that the development remains appropriate for its location within Flood Zone 3.

2. Site Location and Flood Zone Classification

The Site lies within Flood Zone 3, as defined by the Environment Agency’s Flood Map for Planning. A Groundsure Screening Report (reference IT-103617330, dated 19 December 2025) identifies the Site as being at moderate risk of flooding from rivers and the sea, with a medium risk rating at building level.

The River Welland is located approximately 140 metres east of the Site.

No historic flood events affecting the building are recorded in the available screening information.

3. Proposed Development

The proposal comprises minor external works only, specifically:

- Installation of an external extractor unit for air conditioning

- Installation of an external vents for an extractor system

The works do not involve:

- Ground-breaking or excavation

- Alteration to the building footprint

- Structural changes

- Any increase in internal or external floor area

- Any change of use

The Site will continue to operate as a commercial premises, and the vulnerability classification of the use remains unchanged.

4. Flood Risk Assessment

4.1 Impact on Flood Risk

Given the limited nature of the proposed works, the development will:

- Not increase impermeable surface area

- Not alter surface water runoff characteristics

- Not affect existing flood storage capacity

- Not introduce any additional sources of flood risk

- Not increase flood risk elsewhere

The proposals therefore represent no material change to the building’s interaction with flood pathways or floodplain behaviour.

4.2 Occupier Flood Preparedness

Although the development does not increase flood risk, the Site’s location within Flood Zone 3 means that appropriate awareness and preparedness measures remain advisable. Occupiers should:

- Register for the Environment Agency’s Flood Warning and Alert Service

- Maintain suitable buildings and contents insurance covering flood risk

- Review Government guidance on flood resistance and resilience measures available at: www.gov.uk/prepare-for-flooding

These measures support safe occupation but are not required as mitigation for the proposed works.

5. Conclusion

The proposed minor external works at Unit 2 & 3, 14 The Crescent will not increase flood risk to the Site or any neighbouring land. The development does not alter the building footprint, vulnerability classification, or surface water characteristics, and therefore has no adverse flood risk implications.