Non-Material Amendment Details

Frame-work Supports – Grange Solar Farm

Prepared by

Solarplicity Limited

July 2016

NMA Grange Solar Farm

| Project title | Grange Solar Farm |  |  |  |
| --- | --- | --- | --- | --- |
| Document title | Non Material Amendment |  |  |  |
| Client | Solarplicity Limited |  |  |  |
| Author | JM and KN |  |  |  |
| Status | Checked | Date | Checked | Date |
| V1.1 | JM | 29/07/2016 | KE | 29/07/2016 |

Surveys are undertaken on the understanding that nothing in the final report will be omitted, amended or misrepresented by the client or any other interested party. This report and its contents remain the property of Solarplicity Limited.

Introduction

This Non-Material Amendment submission contains details of fencing type to be installed following approval by LPA at the Grange Solar Farm development, planning decision reference H20-0937-13. Decision Dated 11th March 2014.

NMA Documentation Details

Documents Provided (In addition to this report)

Site General Layout

Concrete Remedial For Pile

Description

The original submission contained details of a framing system that was approved however subsequent annual testing has raised concerns over longevity of framework piling being sufficient in eth ground type associated with the project and Solarplicity have decided it is in the best interest of the park to provide a more secure structure by installing concrete surrounds at the base of each pile on site to support the system and ultimately ensure damage risk is reduced. The concrete sections are to be manually installed by hand digging and pouring at each relevant location, by doing so we will bear no impact on the local ecology and ensure that the sections are removable as part of the plant decommissioning programme submitted under original application.

Specification Change –

Concrete sections to all pile locations shown on general layout provided.

Closing

We therefore ask the LPA to advise regarding this submission favourably taking into account the changes made take into account the safety, ecological and availability of products all being taken into account.